# Checklist (last bought/used) for Gas Bench Spare Parts

## Ferrules

| Ferrule Type | Part Number | Last purchased/received (Date/Name) | Last Used (Date/Name) |
| --- | --- | --- | --- |
| Ferrule, 1/16" GVF/005 | SGE-P/N 072654 or CRS P/N 215105 or ThermoFisher P/N 0566390 |  |  |
| Ferrule, 1/16”, GVF/003 | Thermo Fisher P/N 1004850 or SGE P/N 072659 |  |  |
| Ferrule 1/16” GVF2/003 | Thermo Fisher P/N 1060170 |  |  |
| Ferrule 1/16” GVF2/003-004 | SGE P/N 0726641 or CRS P/N 215134 |  |  |
| Seal ferrule, Valco, VICI FS1.5 | ThermoFisher P/N 9000342 |  |  |
| Seal ferrule, Valco, VICI FS 0.4 | VICI P/N Seal ferrule, Valco, VICI FS 0.4 |  |  |
| Seal ferrule, Valco, VICI FS 0.5 | ThermoFisher P/N 1040480 or VICI P/N Seal ferrule FS 0.5 |  |  |
| Ferrule GVF 1/16”-0010 | SGE P/N 072656 (aka P/N 215110) |  |  |
| Ferrule GVF 1/16” – 008 | SGE P/N 072655 or ThermoFisher P/N 1068700 |  |  |

Kindly use pencilsI

## Tubings

| Location/item description | Part number | Last purchased/received (Date/Name) | Last Used (Date/Name) |
| --- | --- | --- | --- |
| Nafion Tubing for Water removal | Thermo Fisher P/N 0743390 |  |  |
| Glass Tube for Sample open split | Thermo Fisher P/N 1183040 |  |  |
| Glass Tube for Reference open split | Thermo Fisher P/N 1041800 |  |  |

## Capillaries

| Location/item description | Part number | Last purchased/received (Date/Name) | Last Used (Date/Name) |
| --- | --- | --- | --- |
| 0.32 mm fused silica capillary | ThermoFisher P/N 1004640 or SGE P/N 0624470 |  |  |
| 0.05 mm fused silica capillary | ThermoFisher P/N 0543380 or SGE P/N 062444 |  |  |
| 0.075 mm fused silica capillary | ThermoFisher P/N 1045480 or SGE P/N 0624450 |  |  |
| 0.11 mm fused silica capillary | ThermoFisher P/N 0674910 or SGE P/N 062446 |  |  |

Kindly use pencils!

## Needles and Syringes

SGE P/N for Needles/Syringes TBC

Bulkhead unions – Thermo Fisher P/N 1121170, IVA P/N IVAZBU1C, Valco P/N ZBU1C

## Gas Chromatograph

TBC